## Slide 1: State of Research and Development in Biomedical Engineering in the Philippines
Engr. Voltaire B. Dupo, ECE
Compiled for IECEP AGM 2022

## Slide 2: Notes and Disclaimers
Disclaimer:
The discussion that you will hear would be both based on what I have experienced from DLSU-IBEHT and the implementation of DOST-PCHRD funded projects at DLSU and published works relevant to the discussion and does not reflect the complete/full position of DLSU or IBEHT and DOST.
Note:
DLSU-IBEHT’s projects and events are supported by DOST-PCHRD.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 3: Objectives
Understand what Biomedical Engineering really is all about.
State what area as Electronics Engineers do we likely occupy in the field of Biomedical Engineering.
Layout the Design Process in Engineering projects and how the design processing in R&D for Biomedical Engineering Research differs significantly.
Learn about the typical stages and evaluations used of development of medical devices.
Understand what support services exist in the current setup within the Philippines to aid in the development and registration of biomedical devices.
Enumerate the different projects that have been developed in the Philippines and used already as well on going projects.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 4: Sections
Biomedical Engineering and Electronics Engineering a side by side comparison
Engineering Design vs Biomedical Engineering Design
Support Services that aid in Biomedical Engineering Research within the Philippines
Successful Projects in the Philippines
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 5: Biomedical Engineering and the education received to prepare to work in it.
Section I.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 6: What is Biomedical Engineering?
The application of engineering principles, practices, and technologies to the fields of medicine and biology especially in solving problems and improving care (as in the design of medical devices and diagnostic equipment or the creation of biomaterials and pharmaceuticals (Merriam and Webster, 2022)
  Biomedical Engineering was first used as a term in 1960 based on printed records.
involves applying the concepts, knowledge, and approaches of virtually all engineering disciplines (e.g., electrical, mechanical, and chemical engineering) to solve specific health care–related problems, the opportunities for interaction between engineers and health care professionals are many and varied. (Bronzino, 2012)
[Bronzino, 2012] Chapter 1 Section 3 - Biomedical Engineering: A Historical Perspective, Introduction to Biomedical Engineering (Third Edition), Joseph D. Bronzino, Academic Press, 2012, Pages 1-33, ISBN 9780123749796, https://doi.org/10.1016/B978-0-12-374979-6.00001-0.
[Merriam and Webster, 2022] “Biomedical engineering.” Merriam-Webster.com Dictionary, Merriam-Webster, https://www.merriam-webster.com/dictionary/biomedical%20engineering Accessed 3 Nov. 2022.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 7: What is Biomedical Engineering?
[Bronzino, 2012] Chapter 1 Section 3 - Biomedical Engineering: A Historical Perspective, Introduction to Biomedical Engineering (Third Edition), Joseph D. Bronzino, Academic Press, 2012, Pages 18, ISBN 9780123749796, https://doi.org/10.1016/B978-0-12-374979-6.00001-0.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 8: Sample Biomedical Engineering Program
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 9: Sample Biomedical Engineering Program
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 10: Sample Biomedical Engineering Program
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 11: ECE Curriculum Overlayed on Sample BME Curriculum
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Notes: 13 Core Subjects are missing
8 Subjects in Engineering Elective Covered
4 Subject in Technical Elective Covered
Science Ethics is covered but mixed with Laws and Norms of Practice

## Slide 12: Clinical Engineering Pathway
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Notes: Missing 18 Core Subjects, 2 Engineering Electives, 3 Technical Electives

## Slide 13: Medical Imaging Pathway
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Notes: Missing 18 Core Subjects, 2 Engineering Electives, 2 Technical Electives but Scientific Ethics may be required to be retaken

## Slide 14: Vital Signs Monitoring Pathway
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Notes: Missing 18 Core Subjects, 2 Engineering Electives, 2 Technical Electives but Scientific Ethics may be required to be retaken

## Slide 15: Research and Development Pathway
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 16: Review of the Design Process
Section II

## Slide 17: Basic Design Process
Chapter 3 Engineering Design Process, Engineering Fundamentals, Saeed Moaveni PP 41 – 46
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 18: Modified Design Process
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 19: Team Members for Typical Engineering Project
Product Design and Development
  Electronics Engineers / Industrial Engineers / Mechanical Engineers
  Legal Department
Post Development - Business Side
  Manufacturing Engineers
  Marketing Department
  Sales Department
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 20: Understanding the Issues with Existing Devices
Can be broken into issues with these on the right 
  Idea Based on TRIZ
User / Customer related issues
Mass
Space
Energy
Cost
Solutions
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 21: Example Non Medical Application
Mass
  Too Heavy
Energy
  Low Operation Duration on a fully charged pack
  Batteries die out faster than expected
Space
  Too Large Profile
Cost
  Cannot match up with lower cost models from competitors
Ergonomics
  Difficult to place into position or to hold for long duration
Problem Definition & Understanding
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 22: Questions for Non Medical Application
What will it be used to drill into?
  Wood
  Metal
  Concrete
Overall Mass of device
Overall Speed of Rotary End
Technology of Motor
Battery Management Module
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 23: Outline of Product Specifications

## Slide 24: Consumer Evaluation
Performance when drilling different media
Battery Charger Performance Time to Full Charge
Specifications
  Fully Assembled Mass
People Centered Activities like Focus Studies
Evaluation
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 25: Two Possible Directions in Biomedical Design Engineering
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Biomedical Engineering
Science
Technique
Materials
Full Product

## Slide 26: Modified Design Process
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 27: Biomedical Engineering Design Process Full Product
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
Team Members
Medical Team
Engineering Team
  Design Team
  Manufacturing Team*
Legal Department
IP Office
Data Privacy Office
Business Team
Chapter 3 Engineering Design Process, Engineering Fundamentals, Saeed Moaveni PP 41 – 46
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 28: Biomedical Engineering Design Process Science Side
Team Members
Medical Team
Engineering Team
  Design Team
IP Office
Legal Office *
Data Privacy Office *
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation

## Slide 29: Biomedical Engineering Design Process
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
Assessment of Needs for the National Health / Research Goals & Funding Sources
Standards, Regulation and Physiological Factors
Supply Chain Consideration
Access to Equipment and Service Providers
Value Engineering
Device Certification and Registration
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 30
Why:
  Medical Device Development is not a short cycle development and usually requires a lot of investment on time and money to accomplish.
Being sure that your work can become something useful for the industry and society is of utmost importance.
  Is it a solution that is needed now?
  Is it a solution is existing? If yes what are the issues that are plaguing it?
  Is it a solution that existing practitioners will buy and be on board to accept immediately or will it take time to convince everyone that it is a good idea or tool for a technique?
Assessment of Needs for the National Health / Research Goals & Funding Sources
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 31
Not Being on the sure side that it is needed
  Waste your
    Funds
    Time
  Can also tarnish your reputation.
Assessment of Needs for the National Health / Research Goals & Funding Sources
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 32: Alternative approach to the Design Process
V. Dupo
Design Thinking
  The inability of a design to consider human nature and human behavior the product ability to access the market or to be considered by the market as usable.
  Considers Markets First Before engaging in any of the desired research and development activities first.
Test
Prototype
Ideate
Define
Empathize
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 33: Example Investigation
Mass
  Too Heavy
Energy
  Low Operation Duration on a fully charged pack
  Batteries die out faster than expected
Space
  Too Large Profile
Cost
  Cannot match up with lower cost models from competitors
Ergonomics
  Difficult to place into position or to hold for long duration
Human Safety - does it perform to make the holes without damaging the underlying tissue too much?
Problem Definition & Understanding

## Slide 34: Items of Consideration for the Design
Human Safety Aspect
  Human Tissue is affected by temperature changes
  Tissue near the hole made to die off when the tool is used
  Under 47 degrees Celsius is the suggested limit based on table
  10,000 RPM is the maximum limit to keep temperature under 47 Celsius Typically
Pandey RK, Panda SS. Drilling of bone: A comprehensive review. J Clin Orthop Trauma. 2013 Mar;4(1):15-30. doi: 10.1016/j.jcot.2013.01.002. Epub 2013 Jan 18. PMID: 26403771; PMCID: PMC3880511.
Problem Definition & Understanding
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 35: Example Investigation
Mass
  Too Heavy
Energy
  Low Operation Duration on a fully charged pack
  Batteries die out faster than expected
Space
  Too Large Profile
Cost
  Cannot match up with lower cost models from competitors
Ergonomics
  Difficult to place into position or to hold for long duration
Human Safety - does it perform to make the holes without damaging the underlying tissue too much?
- How much stray current from motor is present in the machine?
Problem Definition & Understanding
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 36: Items of Consideration for the Design
Human Safety Aspect
  Applied Current if any are measurable should be under 0.1mA in Normal Electrical Outlets (3 Prong) while 0.5mA in Special Function Electrical Outlets (3 Prong with RCD / GFCI).
  Applicable only with Class I and II devices
Problem Definition & Understanding
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 37: Example Investigation
Mass
  Too Heavy
Energy
  Low Operation Duration on a fully charged pack
  Batteries die out faster than expected
Space
  Too Large Profile
Cost
  Cannot match up with lower cost models from competitors
Ergonomics
  Difficult to place into position or to hold for long duration
Problem Definition & Understanding
Conceptualization
Human Safety - does it perform to make the holes without damaging the underlying tissue too much?
- How much stray current from motor is present in the machine?
- Ability to work in Oxygen Rich Environments without introducing more Risk….
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 38: Item Considerations when dealing with Oxygen Rich Environments
DC Motor
  Has Arching between brush and commutator.
  Reduction of Arching Achieved by Arc Suppression Circuits
Alternatives
  Brushless Motors
  Pneumatic Motors
Problem Definition & Understanding
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 39: Example Investigation
Mass
  Too Heavy
Energy
  Low Operation Duration on a fully charged pack
  Batteries die out faster than expected
Space
  Too Large Profile
Cost
  Cannot match up with lower cost models from competitors
Ergonomics
  Difficult to place into position or to hold for long duration
Human Safety - does it perform to make the holes without damaging the underlying tissue too much?
- How much stray current from motor is present in the machine?
- Ability to work in Oxygen Rich Environments without introducing more Risk….
- Electro Magnetic Interference Compliant
Problem Definition & Understanding
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 40: Item Considerations when dealing with EMI Noise Compliant Device Requirement
Heavy Shielding for Class III or ELV Equipment
DC Motor
  Has Arching between brush and commutator.
  Reduction of Arching Achieved by Arc Suppression Circuits
Brushless Motors
Fully Compliant Item if Powered by Air Hose Line
  Pneumatic Motors
Problem Definition & Understanding
Conceptualization
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 41: Performance and Compliance
There is an aim to requires device to comply to a standard(s) / have conformity to a certain level of quality and performance
  Recommendations from existing
    Standards
    Rules on Devices
Typically Considering as minimum full compliance to:
  IEC 60601-1 (Medical Standard)
  CISPR 11 Medical Device EM Compliance Standard
  CISPR 14 Noise Immunity EM Compliance Standard
Conceptualization
Synthesis
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Assessment of Needs for the National Health / Research Goals & Funding Sources
Standards, Regulation and Physiological Factors
Supply Chain Consideration
Access to Equipment and Service Providers
Value Engineering
Device Certification and Registration

## Slide 42: What if the solution developed is software?
Has to comply with ISO 62304:2006 – Medical device software
Needs to be evaluated based on software resiliency and immunity to hacking and have QC process to check accuracy.

## Slide 43: Contracted Manufacturing
Some Parts may be difficult to produce in house or assemble as such Research Groups may enter into Contracts to Manufacture Parts or Sections of the Design
  Usually requires
    Non Disclosure Agreements between Research Group and Manufacturer
    Site Inspection and Talks to determine ability of Manufacturer
    Talks to determine pricing
Requires Inspection of Manufactured Part and Quality Checks Prior to Acceptance.
  Redoing items should be part of the manufacturing contract if found to be sub- standard or non-compliant.
Manufacturers Selected may comply with at least
  ISO 9001
  Better if ISO 13485 but this is more costly specially for limited production runs for prototypes of 3-6 units only for evaluation purposes.
Synthesis
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 44: IP Protection
Initial run down of technology and evaluation of:
What is new or novel in the technology developed?
What is worth protecting?
Filling of Patents or Copyright Claims to protect the technology developed or Trademark Claims to protect developed product names.
Monitoring and Revising Submissions based on Feedback Received from Patent Office.
Synthesis
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 45: Patent Filing Costs
https://www.ipophil.gov.ph/services/schedule-of-fees/patents/

## Slide 46: Patent Filing Costs
Table of Fees Source: https://www.ipophil.gov.ph/services/schedule-of-fees/patents/

## Slide 47: Software Medical Device
Under Copyright typically
If hardware only runs on a particular software and process then it can be theoretically be included in the patent but this is very specific terms

## Slide 48: To Publish or Not to Publish in Conferences? That is the Question
Terms and Conditions for Patents is that public disclosure should have not taken place x number of months prior to filling it.
Some require no disclosure at all prior to filling
  EU System

## Slide 49: Defending Patents and Copyright Claims
Requires a good lawyer / law firm to conduct
Requires money to spend to allow the legal process to go thru its paces.
Different Patents in Different Territories will require different law firms to conduct defense of patent rights.

## Slide 50: Biomedical Engineering Design Process
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
Assessment of Needs for the National Health / Research Goals & Funding Sources
Standards, Regulation and Physiological Factors
Supply Chain Consideration
Access to Equipment and Service Providers
Value Engineering
Device Certification and Registration
Preparing for Clinical Trials
Technical Study
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
Testing and Evaluation starts at the Assessment Stage of the project

## Slide 51: Biomedical Engineering Design Process
It repeats for every different phase of evaluation
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
Assessment of Needs for the National Health / Research Goals & Funding Sources
Standards, Regulation and Physiological Factors
Supply Chain Consideration
Access to Equipment and Service Providers
Value Engineering
Device Certification and Registration
Preparing for Clinical Trials
Technical Study
Animal
Study
Preparing for Clinical Trials

## Slide 52: Biomedical Engineering Design Process
Thus you can consider every testing activity as a phase in device development
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
Assessment of Needs for the National Health / Research Goals & Funding Sources
Standards, Regulation and Physiological Factors
Supply Chain Consideration
Access to Equipment and Service Providers
Value Engineering
Device Certification and Registration
Preparing for Clinical Trials
Technical Study
Animal
Study
Human
Study
Preparing for Clinical Trials
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 53: Administration Coverage
Level 3 Ethics Review Board
  Concern is primarily the welfare of participants in the scientific study to ensure that they are taken proper care for and are covered by the study proponents.
  Reporting of Study Results and compliance is given to them at the end of every testing phase with live test subjects.
Philippine Food and Drug Administration
  Concern is the effectivity of medical devices that are intended to be sold or marketed within the Philippine Economy
  They are primarily concerned with scientific validity of the work done by medical equipment, manufacture of the item, after sales market support and surveillance as well as recalls.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 54: Biomedical Engineering Design Process
Need for Product / Service
Problem Definition & Understanding
Research Preparation
Conceptualization
Synthesis
Evaluation
Optimization
Presentation
Assessment of Needs for the National Health / Research Goals & Funding Sources
Standards, Regulation and Physiological Factors
Supply Chain Consideration
Access to Equipment and Service Providers
Value Engineering
Device Certification and Registration
Preparing for Clinical Trials
Technical Study
Animal
Study
Human
Study
Preparing for Clinical Trials
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 55
Personnel Requirement skills and experience for in House Evaluation Prior to any Third Party Evaluation
  Test Engineer
  Clinical Technology Management
  Safety Officer
Technical Study
Orientation for personnel what will be helpful for proper documentation
  Medical Device Development Record
  Life Cycle Analysis
    Pollution Control Training
  Patent Clerk Training
  Materials Compatibility
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 56
Evaluate the state of the medical device developed in compliance with
  IEC 60601-1 Recommendations
  Standard the Covers its performance parameters
This is usually done using a checklist with the specific passing values referenced to make a decision on pass or fail.
Technical Study
This may require up to three or more
Revisions of the product before it
Goes to full compliance
Preparing for Clinical Trials
Technical Study
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 57
Non Disclosure Agreements with Test Houses
Requires to prepare for agreements with external test houses and scheduling of testing.
Logistics to transfer equipment
Insurance to cover equipment during movement and personnel.
Payment agreement and terms with test houses
Technical Study
This may require up to three or more
Revisions of the product before it
Goes to full compliance
Preparing for Clinical Trials
Technical Study
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 58
Risk Analysis
  ISO 14971 outline how to quantify risk level for a medical device
  Balance between Probability of Occurrence and Severity.
  Machine Factor
  Human Factor
  Probability of Failure is estimated
    In my case I use Weibull Analysis for a Quantitative Approach.
Technical Study
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 59
At the end of the Technical Study the following documents are produced
  User Manual
  Technical Manual
  Medical Device Investigators Brochure
    Includes Multiple Records of the HIRAC analysis of the device developed.
  Test Evaluation Records and Certifications under Third Party Laboratories
Technical Study
This may require up to three or more
Revisions of the product before it
Goes to full compliance
Preparing for Clinical Trials
Technical Study
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 60
  In House Tests
    Traceable Certified and Calibrated Test Equipment must be used
    Qualifications of Personnel using it should be also quantified and Traceable.
    Testing Equipment Procured during Preparation Stage is used here.
Technical Study
Third Party Testing Houses
  Traceable Entity Registration and Certification with International Accreditation Bodies
  Traceable Issued Certifications
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 61
  In House Tests
    Traceable Certified and Calibrated Test Equipment must be used
    Qualifications of Personnel using it should be also quantified and Traceable.
Technical Study
Third Party Testing Houses
  Traceable Entity Registration and Certification with International Accreditation Bodies
  Traceable Issued Certifications
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 62: `
Evaluation
Technical Study
Animal Studies
Human Studies
Passed?
Testing
Redesign
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 63: `
Evaluation For Science Side Project
Technical Study
Animal Studies
Human Studies
Passed?
Testing
Redesign
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 64
In most cases the machine can be used on animals that approximate the required physiology to check for effects / side effects of the machine.
  General Considerations for Animal Studies for Medical Devices
  (US FDA, https://www.fda.gov/media/93963/download )
  Training on the Ethical Use of Lab Animals in Research (https://ritm.gov.ph/training/laboratory-training/training-on-the-ethical-use-of-lab-animals-in-research/ )
Animal Study
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 65
Animal Study
Animal | Area of Research Used in Traditionally
Dogs | Heart, Lungs, Kidneys
Monkeys | Human Behavior Studies
Mice | Almost All Processes plus Reproduction
Cats | Spine
Ferret | Disease and Drug Research
Pigs | Implantable Devices suchs as Pacemakers and dental implants
Rabbits | Reproduction and Exposure
Sheep | Respiratory System Related Research
Baboons | Skin Related Diseases and Treatments
Horses | Disease and Drug Research
*Studies that use animals undergo their own review system by a Committee created to ensure the proper
and humane treatment of animals that are contributing to understanding the dynamics and limitations of
devices or pharmaceutical products.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 66
Requirements
Physical Plant and Support System is needed to run such activities such as:
  Holding areas for animals
  Personnel to take care of healthy animals
  Procedure Areas
  Personnel to ensure that animals used in studies receive proper care after the experiments have taken place.
  Areas to hold animal remains before burial
Recommendation
Partner with an institution that conducts and has these type of facilities that fit your requirements and work with them to ensure that the protocols are compliant with the requirements set for this type of activity.
Animal Study
Animal
Study
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 67: `
Evaluation
Technical Study
Animal Studies
Human Studies
Passed?
Testing
Redesign
Protocol Review & Partnerships
Prepare for and Conduct Study
Partnership Done?
Protocol Approved?
No
Yes
Yes
Study Report
Compliance Report
Passed?
No
Yes
No
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 68
All studies that use humans as sources of information are covered by:
Data Privacy Act
Good Clinical Practice
Human Studies
Human Studies
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 69: Human Experiments conducted in the Past
Tuskegee, Alabama Experiments on Sphyllis
US Navy Experiments on Effects of Mustard Gas and
Image Source:
Article Reference: https://www.cdc.gov/tuskegee/timeline.htm
Article Reference: https://www.smithsonianmag.com/smart-news/americans-who-were-exposed-mustard-gas-wwii-experiments-180957152/

## Slide 70: Human Experiments conducted in the Past
The Stateville Penitentiary Malaria Experiments
Unit 731 Human Experiments
Miller, Franklin G. (2013). The Stateville Penitentiary Malaria Experiments: A Case Study in Retrospective Ethical Assessment. Perspectives in Biology and Medicine, 56(4), 548–567. doi:10.1353/pbm.2013.0035
https://unit731.org/
Notes: Unit 731 was involved in Plague and Anthrax Research involving live humans
Stateville Penitentiary Experiments where legally done but the way the study was done leaves issues on the welfare of the participant as well as the type of participant used in the study

## Slide 71
1. An Introduction to Clinical Research
2. An Overview of ICH GCP
3. Code of Federal Regulations
4. FDA 21 CFR
5. Sponsors Responsibilities
6. Investigators Responsibilities
7. Investigators Responsibilities
– Informed Consent Form
8. Reporting Responsibilities of the Investigators
9. Ethics of Research Involving Children
10. Ethics of Research Involving Mentally Incapacitated
11. Ethics of Research Involving Pregnant Women and Fetuses
12. Ethics of Research Involving Prisoners
13. Trial Management – Data Handling and Record Retention
14. Adverse Events
15. Safety of Human Subjects in Clinical Research
a) Common Terminology Used In Clinical Research
b) Commonly Used Abbreviations and Terms in Clinical Research
Human Studies GCP

## Slide 72
Human Studies directly apply the machine to people and is required by law to be covered by a Protocol Review and Approval Process
Staff who will conduct the research on this end are required to have Certification on Good Clinical Practice to understand what is important in conducting an ethical scientific inquiry using actual human beings.
Protocols are written as drafts during the Research Preparation stage.
Protocols are revised and reviewed after the technical study concludes
Human Studies
Human Studies
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 73
Determination of the Type of Study to be conducted
To Establish a level of safety for human use.
Validation of Physiological Effects
Validation of Efficacy for Specific types of treatments.
Human Studies
Human Studies
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 74
Revision of Design Process
Technical Study Phase 0
Animal Studies Phase 1
Human Safety Study Phase 2
Human Efficacy Study Phase 3
One Phase
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 75
Document | Technical | Medical | Legal | IP | Data Privacy
Protocol Document | x | x | x |  | x
Informed Consent Document |  | x | x |  | X
Proof of Liability Insurance | x | x | x |  | X
Proof of Medical Insurance for Participants | x | x |  |  | x
Medical Device Brochure | x | x |  | x | 
CV of Investigators | x | x |  |  | 
Copies of Past Investigations conducted with the device in its present configuration. | x | x | x | x | x
User and Technical Manuals | x | x | x | x | 
Human Studies
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 76
Submissions for Protocol Review are done with an Ethics Review Board of your choosing.
Typically one that the primary medical investigator recommends
  Area where the study is conducted
  Availability of Level 3 Research Ethics Board
Submissions include
  Letter of Intent
  Protocol Document
  Informed Consent Document
  Proof of Liability Insurance
  Proof of Medical Insurance for Participants
  Medical Device Brochure
  CV of Investigators
  Copies of Past Investigations conducted with the device in its present configuration.
  User and Technical Manuals
Human Studies
Human Studies
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 77
Ethics Board Approval can take months or years depending on the extent of work to be done.
  Set of objectives that are concise and specific need to be arranged before hand on the written protocol
    Makes things easier to understand
    Make it faster to see the risks
    Faster to outline control structures in place to reduce or remove these risks.
Human Studies
Human Studies
Preparing for Clinical Trials
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 78: `
Evaluation Full Process
Technical Study
Animal Studies
Human Studies
Passed?
Testing
Redesign
Protocol Review & Partnerships
Prepare for and Conduct Study
Partnership Done?
Protocol Approved?
No
Yes
Yes
Study Report
Compliance Report
Passed?
No
Yes
No
Insurance, Site Agreements, Protocol Writing
Preparation Complete?
Submit Protocol for Ethics Board Review
Protocol Approved?
Yes
Prepare for and Conduct Study
Study Report
Compliance Report
Passed?
No
Reports
No
Yes
No
Yes
Revisit General Plan to determine next step
Yes
Technical Issue?
No
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 79: `
Evaluation Full Process
Technical Study
Human Studies
Passed?
Testing
Redesign
Yes
No
Insurance, Site Agreements, Protocol Writing
Preparation Complete?
Submit Protocol for Ethics Board Review
Protocol Approved?
Yes
Prepare for and Conduct Study
Study Report
Compliance Report
Passed?
No
Reports
No
Yes
No
Yes
Revisit General Plan to determine next step
Yes
Technical Issue?
No
If No Animal Model
Exists or no Simulated
Model Exists to take
Its place
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 80
Revision of Design Process
Technical Study Phase 0
Animal Studies Phase 1
Human Safety Study Phase 2
Human Efficacy Study Phase 3
Prototypes
Commercially Viable Product
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 81: Value Engineering
Revision of the Product to address any of the four (4) areas in engineering
Mass
Space
Energy
Cost
Solutions
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 82: Value Engineering
Can be used as a enabling Pathway towards Mass Manufacturing for the device
    10 – 100 Units
Mass
Space
Energy
Cost
Solutions
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 83: Value Engineering
Value Engineering can be done on parts or the whole device itself.
  The price also changes depending on
    Coverage of work.
      Simple part replacement vs System Re-design
    Patent Ownership Rights as Assignee
Mass
Space
Energy
Cost
Solutions
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 84: Added Engineering if Left Undone during Design Phase
Manufacturability
  Process
    Sterilization
    Device
    Assembly Process
  Quality Control
  Packaging
Compliance with Manufacturing Guidelines
  ISO 13485
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 85
Administration Coverage
Spin Off - Commercialization
Human Efficacy Study Phase 3 (Multiple Sites)
Value Engineering (10 – 100 Units)
Human Safety Study Phase 2 (1 Study site)
Animal Studies Phase 1 ( 1 Study Site)
Technical Study Phase 0 (Laboratory Test Bench Studies and 3rd Party Tests)
Ethics Review Board
Level 3
FDA and Ethics Review Board
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 86
Administration Coverage
Technical Study Phase 0
(1 Unit minimum)
Animal Studies Phase 1
( 2 Units)
Human Safety Study Phase 2
(2 Units / Study Site)
Value Engineering (10 – 100 Units)
Human Efficacy Study Phase 3 (Multiple Study Sites)
(3 Units / Study Site)
Ethics Review Board
Level 3
FDA and Ethics Review Board
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 87: My own experience on this activity
Agapay Project
  Description of Device
Standards Covered by Technical Study
  IEC 60601-1
  CISPR 11 & 21
  IEC 80601-1-72
  RIA 14 Recommendations on Robots working in Close Proximity with Humans
  NIRP 1998 Recommendations
Regional Recommendations
  Asean Medical Directive
ISO 14971
ISO 14155

## Slide 88: Support System for Biomedical Research
Section III.
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 89: This Section III contains names of companies that are important for the projects that I worked on. But there possibly more companies that cater to it.
Authors Notes
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 90: `
Support Systems for BME Research and Development
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU
 | In House Teams Medical, Engineering, Legal, IP, Data Privacy |  | 

## Slide 91: `
Support Systems for BME Research and Development
Initial Funding for Project and Prototype Creation
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 92: `
Support Systems for BME Research and Development
IP Protection
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 93: `
Support Systems for BME Research and Development
Fabricators
Suppliers for Equipment and Parts
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 94: `
Support Systems for BME Research and Development
In House Test Equipment – EST, EM Radiation Survey Tools
Standard Testing Provider
For IECEP AGM 2022 by V. Dupo, ECE from IBEHT DLSU

## Slide 95: BME Projects in the Philippines
Section 4.

## Slide 96: BME Projects in the Philippines
Swifter | Ateneo Research Institute for Science and Engineering | Ms. Marie Jennifer V. Reolo, MSc. | Covid-19 Testing LAMP Assay
CRISPR-Dx | UP Diliman - National Institute of Molecular Biology and Biotechnology | Dr. Ron Leonard V. Dy | Development of diagnostic kits that can detect relevant infectious diseases.
CHERISH Study | The Medical City | Dr. Beatrice Tiangco | AI-Powered Reading of Chest X-rays in Diagnosis of COVID-19 Pneumonia in Tertiary Hospital
Sanipod: Self-contained disinfecting Cubicle |  | Dr. Edward Wang | Disinfection for healthcare workers
Cleanintubate |  | Dr. Catherine Co. | Laryngoscope Blades Disinfection Machine

## Slide 97: BME Projects in the Philippines
RxBox |  | Dr. Geohari Hamoy | Telemetry system for COVID-19
MyBeshie: Bot Ensuring Safety and Health in Isolated Environment |  | Dr. Nathaniel Orillaza | Telepresence Terminals to aid in COVID-19 Response
LISA Robot | University of Santo Tomas | Dr. Anthony James Bautista | Remote controlled Robot employed to operate mundane but important taks lessening exposure of health care workers in a hospital setting.
E-steth |  | Dr. Michelle Cristine Miranda | Acoustic - Electronic Stethoscope that allows health workers to listen at a safe distance to breathing sounds

## Slide 98: BME Projects in the Philippines
SiglaVent. | Technological Institute of the Philippines | Engr. Joel John Martinez | Automated Ambu-bag with ventilator features for emergency use
 | University of San Carlos Cebu | Dr. Edward Querikiol | Low Cost Ventilation system in tropical regions for risk reduction of infectious aerosol and virus transmission
Lapara Project | Institute of Biomedical Engineering and Health Technologies - DLSU | Dr. Nilo Bugtai | Robotic and Articulating Laparascope instrument for surgeons that is easy to use and maneuver.
Agapay Project | Institute of Biomedical Engineering and Health Technologies - DLSU | Dr. Renann Baldovino | Wearable Robotic Exoskeleton that provides motor rehabilitation and physical therapy for post stroke and injured patients

## Slide 99: BME Projects in the Philippines
TAYO Project | Institute of Biomedical Engineering and Health Technologies - DLSU | Dr. Armyn Sy | Multi-functional rehabilitation device for early mobilization initially designed to rehabilitate stroke patients.
Kandili | Institute of Biomedical Engineering and Health Technologies - DLSU | Atty. Christopher Cruz | Development of a Competitive Intellectual Property Management System to Effectivity and efficiently facilitate commercialization of biomedical devices and health technologies
Capacita | Institute of Biomedical Engineering and Health Technologies - DLSU | Atty. Christopher Cruz | Equip Researchers, Inventors, Technology Transfer Officers and related personnel with the skills and knowledge to commercialize biomedical engineering and health technologies.

## Slide 100: Commercialized Projects
BioTek-M

## Slide 101: Summary – Based on my own professional opinion
Engineering Track Training Lacks
Biology Subjects
Physiology related Subjects
Practical Medical Device Design
Clinical Orientation
Issues
Unit Load Limits

## Slide 102: Summary - What we have on hand to support Biomedical Research in the Philippines?
Standardized Testing
EPDC
Fabricators
Additive/Deductive Process
Machine Insurance Providers
Medical Insurance Providers for Healthy Test Participants
Third Party Evaluation Facility for Medical Devices

## Slide 103: Summary – What we currently lack
Evaluation Facilities for Bio-compatibility
Liability Insurance Provider
Value Engineering Provider with a long history of BME projects
Locally Available Trained Personnel to Handle
Engineers who are oriented to do the Preparation Work for Clinical Studies
Business Incubators with the Manufacturing Ability
Local Standards that make it easier for people to find out what to comply to